## Slide 1: Strain Gauge Monitoring
AN introduction

## Slide 2: What is a Strain Gauge?
It is a Passive Transducer
It converts pressure/ force/ displacement through the gauge length changes into an electrical quantity that can be measured.

## Slide 3: What is the Gauge Factor
Sensitivity of strain gauge or the Gauge Factor
the conversion factor for the Resistance to Strain.
Delta R = Change in resistance
R is original resistance
Delta L / L = Strain
https://www.youtube.com/watch?v=5p3UiEp8IOk

## Slide 4: Reference Sheet HBM
Primary Reading on HBM
Gauges on the Stacker are configuration 9 (Channel 1-4)

## Slide 5: Reference Sheet HBM
Poisson Ratio is approx. 0.3
Gauge Factor = 2.06% ( For the installed CH1-4 on the Fines Stacker ) *
*Gauge Factor is written on the Packets

## Slide 6: Shunt Resistor Calibration

## Slide 7: Shunt Resistor Calibration

## Slide 8: Shunt Resistor Calibration
At zero voltage , the Micro Strain should be zero.
At 4mV/V measurement we should see :